## Slide 1
Prof. Arvid Lundervold BSc, MD, PhD
Neuroinformatics and Image Analysis Laboratory, Department of Biomedicine
Department of Radiology, Haukeland University Hospital
University of Bergen
Norway
33rd Annual Scientific Meeting of the European Society for Magnetic Resonance in Medicine and Biology, Vienna/AT - Teaching Session, Sept 29th 2016 08:00-09
Measurement of Renal Perfusion and Filtration
www.esmrmb.org
Lerman LO, Textor SC (eds). Renal Vascular Disease, Springer 2014
Syllabus: https://github.com/arvidl/functional-kidney-imaging
E-poster: esmrmb2016.0010002

## Slide 2
Kidney structure and function – physiological parameters RPF and GFR
Multiscale analysis – systems medicine – radiomics
“Mass balance” and compartment models
DCE-MRI for measuring perfusion and filtration
Tracer kinetics and parameter estimation (down to single voxels)
Motion correction and kidney segmentation
Software for DCE-MRI and estimation of renal perfusion and filtration
(“open science” & “reproducible research”)
Measurement of renal perfusion and filtration

## Slide 3
Boron & Boulpaep, Medical Physiology, 3rd ed. Elsevier, 2017
act as filters
body homeostatsis
(fluid status, pH, electrolytes)
hormon production (renin, EPO)
<0.5% of body weight
~20% of cardiac output
The kidney

## Slide 4
Normal kidney function
e.g. maintenance of
fluids, electrolytes,
and acid–base balance
and clearance of toxins
maintained by
coordinated
regulation
at different
levels
of organization
Multiscale analysis of kidney function
He et al. Systems biology of kidney diseases Kidney International 2012;81:22–39
“ Radiomics “

## Slide 5
Kidney morphology
Boron & Boulpaep, Medical Physiology, 3rd ed. Elsevier, 2017
act as filters
body homeostatsis
(fluid status, pH, electrolytes)
hormon production
<0.5% of body weight
~20% of cardiac output
Medulla
(pyramid)
Cortex
Renal
pelvis

## Slide 6
Boron & Boulpaep, Medical Physiology, 3rd ed. Elsevier, 2017
Major blood vessels
Duct of Bellini
Interlobar
vein
Interlobar
artery
Renal
papilla
urine
Renal medulla
(pyramid)
Renal
artery
Renal
vein
Efferent
arteriole
Afferent
arteriole
Glomerular
capillaries

## Slide 7
The nephron
Boron & Boulpaep, Medical Physiology, 3rd ed. Elsevier, 2017
Juxtamedullary
nephron
Superficial
nephron
CORTEX
OUTER
MEDULLA
INNER
MEDULLA

## Slide 8
Glomerular
capillary
covered by the
foot processes
of podocytes
Boron & Boulpaep, Medical Physiology, 3rd ed. Elsevier, 2017
Where the filtration (GFR) takes place
TEM x 48000 1 mm
Capillary
lumen
Bowman’s
space
Satchell & Braet Am J of Physiol Renal Physiology 2009:296(5):F947-F956.
Primary
processes
Primary
processes
Foot processes
Secondary
processes
Podocyte
Cell body

## Slide 9
PX,a
plasma concentration of X in renal artery
PX,v
plasma concentration of X in renal vein
RPFa
renal plasma flow in renal artery
RPFv
renal plasma flow in renal vein
UX
concentration of X in urine
V
urine flow (volume urine per time unit)
.
“ Mass balance “ of a solute or tracer X
( X is not synthesized, degraded, or accumulated in the kidney )
Boron & Boulpaep, Medical Physiology, 3rd ed. Elsevier, 2017
Arterial input of X
Venous output of X
Urine output of X

## Slide 10
“ Mass balance “
clearance of a substance X
Boron & Boulpaep, Medical Physiology, 3rd ed. Elsevier, 2017
RPFa
GFR
EX
RX
SX
FX
Amount
excreted
per unit
time
Amount
filtered
per unit
time
Amount
reabsorbed
per unit
time
Amount
secreted
per unit
time
Afferent
arteriole
Efferent
arteriole
Glomerular
capillary
Renal
vein
Bowman’s
space
Tubule
lumen

## Slide 11
“ Mass balance “
clearance of a substance X
Clearance of X, CX
GFR
Boron & Boulpaep, Medical Physiology, 3rd ed. Elsevier, 2017
PX,a
GFR
PX,v = 0
Afferent
arteriole
Efferent
arteriole
Glomerular
capillary
Bowman’s
space
Tubule
lumen
Renal
vein
Input into
Bowman’s space
Output into
urine

## Slide 12
“ Mass balance “
clearance of a substance X
Clearance of X, CX
GFR
Boron & Boulpaep, Medical Physiology, 3rd ed. Elsevier, 2017
RPFa
GFR
Cglucose = 0
Cinulin = GFR
CPAH = RPFa
~ 600 mL/min
~ 125 mL/min
EX
RX
SX
FX
Filtration fraction, FF = GFR / RPF
~ 0.2
Afferent
arteriole
Glomerular
capillary
Bowman’s
space
Efferent
arteriole
Tubule
lumen
Renal
vein
Input into
Bowman’s space
Output into
urine

## Slide 13
Multi-compartment modeling of renal perfusion and filtration
Ao - aorta
A - intrarenal arteries and glomerular vessels
P - proximal convoluted tubule
L - loop of Henle
(A model for determination of single-kidney GFR)
Dashed lines represent tracer-free fluid resorption, in terms of fractions of GFR: fP, fL, fD, fCD
Lee VS et al. Renal function measurements from MR renography and a simplified multicompartmental model. Am J Physiol Renal Physiol 2007;292:F1548–F1559.
D - distal convoluted tubule
CD - collecting duct
V - vasa recta and veins
U - ureter
RPF
GFR

## Slide 14
Ao (t) - aorta (AIF) [mM X/ mL whole blood]
A (t) - intrarenal arteries and glomerular vessels
[mM X / mL plasma]
P (t) - proximal convoluted tubule [mM X / mL tubular fluid]
L (t) - loop of Henle [mM X / mL tubular fluid]
Simplified three-compartment model for
determination of single-kidney GFR:
Conservation of mass (simplified model):
System of 3 coupled ordinary differential equations, ODEs
cortex medulla
[mL]
- volume of P [mL]
- volume of L [mL]
Lee VS et al. Renal function measurements from MR renography and a simplified multicompartmental model. Am J Physiol Renal Physiol 2007;292:F1548–F1559.
Three-compartment modeling of renal perfusion and filtration
Dashed lines represent tracer-free fluid resorption, in terms of fractions of GFR: fP, fL.
RPF = Renal plasma flow [mL/min]
GFR = Glomerular filtration rate [mL/min]
Hct = hematocrit, (1 – Hct) = plasma fraction
X = tracer substance (e.g. Gd)
(1 – fP) GFR
(1 – fP - fL) GFR

## Slide 15
Simplified three-compartment model for
determination of single-kidney GFR:
Conservation of mass
Lee VS et al. Renal function measurements from MR renography and a simplified multicompartmental model. Am J Physiol Renal Physiol 2007;292:F1548–F1559.
Three-compartment modeling of renal perfusion and filtration
(1 – fP) GFR
(1 – fP - fL) GFR
The volumes and from segmented 3D MRI
MR measurements:
The AIF, from MR renography (DCE-MRI)
from MR renography
MR renography
Parameters estimated:
RPF
GFR
fP
fL
VA,Cx
VA,Med
(with some simplifying assumptions)

## Slide 16
DCE-MRI of the moving kidney

## Slide 17
Pharmacokinetic modeling of perfusion and filtration using DCE-MRI
R. Sance et al., ISPA 2006
Lee VS et al. Renal function measurements from MR renography and a simplified multicompartmental model. Am J Physiol Renal Physiol 2007;292:F1548–F1559.
The
moving
kidney
The
motion-
corrected
kidney

## Slide 18
Sourbron et al. MRI-Measurement of Perfusion and Glomerular Filtration in the Human Kidney With a Separable Compartment Model. Investigative Radiology 2008;43:40-48.
MRI-measurement of perfusion and glomerular filtration in
the human kidney with a separable compartment model
The plasma flow FP carries the contrast agent from an
arterial region (A) into the tissue (gray rectangle)
It first enters the tissue plasma, where it distributes over
the plasma volume VP
A fraction of the entering contrast agent is filtered out of
the vascular space and is carried by the tubular flow FT into
the tubular system where it distributes over the tubular volume VT
In the tubuli a fraction f of the filtrate is reabsorbed.
The contrast agent leaves the tissue carried by the outflow
out of the vascular and tubular spaces.
(Sourbron et al., 2008)
Tissue voxel
Feeding artery
Plasma
Tubuli
f (reabsorption fraction)

## Slide 19
The four independent model parameters
FP (mL/100 mL/Min)
TP = MTTP (sec)
FT (mL/100 mL/ Min)
TT = MTTT (sec)
for the data with the intermediate fit accuracy
The cortex region was defined retrospectively as those pixels with VP > 20 mL/100 mL.
The parametric maps (colored) are superposed on a precontrast image (gray) for anatomic reference.
MRI-measurement of perfusion and glomerular filtration in
the human kidney with a separable compartment model
Sourbron et al. MRI-Measurement of Perfusion and Glomerular Filtration in the Human Kidney With a Separable Compartment Model. Investigative Radiology 2008;43:40-48.

## Slide 20
Visual Exploration and Analysis
of Perfusion Data
The lower image depicts all time-intensity curves of a renal perfusion study.
Gradient sum brushes are employed to select regions with similar perfusion characteristics.
In the top left image, the renal cortex is shown based on the selection with left brush.
The right image shows the renal medulla where contrast enhancement occurs later.
(Courtesy of Steffen Oeltze, University of Magdeburg)
Preim B, Botha C. Visual Computing for Medicine, Second Edition.
http://dx.doi.org/10.1016/B978-0-12-415873-3.00016-X

## Slide 21
Renal compartment segmentation from DCE-MRI
Yang X et al. Renal compartment segmentation in DCE-MRI images. Medical Image Analysis 2016;32:269-280.
Temporal measurements
Mean signal intensity
Cortex
Medulla
Pelvis
Preprocessing
MSTV-based Kidney
Segmentation
DCE-MRI data
K-means clustering in segmented kidney
Principal Components
PCA Analysis on Entire Dataset
Medulla
Recognition
Cortex
Results
Refinement
Segmented cortex
Segmented medulla
Segmented pelvis
Normalization
Motion correction
E(t) =
S(t) – Sbaseline
Sbaseline
E(t) is relative
enhancement
tn
t0
tn
t0
MSTV = Maximally Stable Temporal Volume
(a) - (d) An exemplar slice of DCE-MRI series including both kidneys at four temporal points 1, 3, 7, and 23 respectively. For this patient, 1156 abdomen images are taken at 34 temporal points.
(e) By analyzing the enhancement of the renal tissues as a function of time, i.e. time intensity curves, one can determine clinically important single-kidney parameters such as the renal blood flow (RBF), glomerular filtration rate (GFR), and cortical and medullary blood volumes.

## Slide 22
DCE-MRI: numerical analysis software
Sourbron S, Biffar A, Ingrisch M, Fierens Y, Luypaert R.
PMI: platform for research in medical imaging.
Magn Reson Mater Phy. 2009 Oct 1;22(1):539.
https://github.com/plaresmedima/PMI-0.4
Interactive Data Language (IDL)
http://www.harrisgeospatial.com/ProductsandSolutions/GeospatialProducts/IDL.aspx
https://sites.google.com/site/plaresmedima
Zöllner FG, Daab M, Sourbron SP, Schad LR, Schoenberg SO, Weisser G.
An open source software for analysis of dynamic contrast enhanced magnetic resonance images: UMMPerfusion revisited.
BMC Med Imaging. 2016;16:7. doi:10.1186/s12880-016-0109-0.
http://ikrsrv1.medma.uni-heidelberg.de/redmine/projects/ummperfusion
OsiriX (C/C++) on MacOS
www.osirix-viewer.com
Schmid VJ, Whitcher B, Padhani AR, Yang GZ.
Quantitative analysis of dynamic contrast-enhanced MR images based on Bayesian P-splines.
IEEE Trans Med Imaging. 2009;28(6):789-798. doi:10.1109/TMI.2008.2007326
https://github.com/petmri/ROCKETSHIP
MATLAB
www.mathworks.com
PMI
UMMPerfusion
ROCKETSHIP

## Slide 23
DCE-MRI: numerical analysis software
Schmid VJ, Whitcher B, Padhani AR, Taylor NJ, Yang GZ.
Bayesian methods for pharmacokinetic models in
dynamic contrast-enhanced magnetic resonance imaging.
IEEE Transactions on Medical Imaging 2006;25(2):1627-1636.
http://dcemri.sourceforge.net https://cran.r-project.org/web/packages/dcemriS4
dcemriS4
DATforDCEMRI
DCEMRI.jl
The R language
www.r-project.org
Ferl GZ.
DATforDCEMRI: An R Package for Deconvolution Analysis
and Visualization of DCE-MRI Data
Journal of Statistical Software 2011;44(3):1-18.
https://cran.r-project.org/web/packages/DATforDCEMRI
The R language
www.r-project.org
Smith DS, Li X, Arlinghaus LR, Yankeelov TE, Welch EB.
DCEMRI.jl: a fast, validated, open source toolkit for dynamic
contrast enhanced MRI analysis.
PeerJ. 2015;3:e909. doi:10.7717/peerj.909
https://github.com/davidssmith/DCEMRI.jl https://www.ncbi.nlm.nih.gov/pubmed/25922795
The Julia language
http://julialang.org
https://github.com/welcheb/pydcemri
The Python language
www.python.org
Python module :

## Slide 24
Software - the kidney & computational anatomy

## Slide 25
Software
Pharmacokinetic modeling
http://demonstrations.wolfram.com/PharmacokineticModeling
kel,2
kel,1
k21
k12
c2(t)
c1(t)
d(t)
ka
ro = 1
Mass of
injected substance
Absorption
coefficient
Rate transfer coefficients
Elimination rates
DIDACTIC

## Slide 26
Software - Pharmacokinetic Modeling
http://demonstrations.wolfram.com/PharmacokineticModeling
In DCE-MRI
we are
solving the
inverse
problem:
Estimate the
parameters
(e.g. GFR, RPF)
by fitting
the measured
data to
the model
(in the least
squares sense,
using an
optimization
scheme)
DIDACTIC

## Slide 27
Grenier et al. Radiologic imaging of the renal parenchyma structure and function. Nature Reviews Nephrology 2016;12:348–359
a) The renogram is a map of the maximal signal intensity that can be obtained after injection of a gadolinium-based tracer bolus.
b) By placing a region of interest on the aorta (red) and on the cortex (yellow), signal intensity time curves (kinetic curves) can be produced.
The aortic kinetic curve enables characterization of the shape of the bolus (arterial input function, AIF).
c) A two-compartment model is applied to these kinetic data to extract the perfusion component and the extraction component.
d) Quantitative maps of perfusion and glomerular filtration rate (GFR; in ml/min/g of tissue) can be generated from these data, respectively.
AIF
Tissue
Summary
(Grenier et al., 2016)

## Slide 28
Kidney structure and function – the core parameters: RPF and GFR
“Mass balance” - compartment models and tracer kinetic principles
DCE-MRI - the most established measuring technique for renal perfusion and filtration (but also: Arterial Spin Labeling, ASL - non-contrast perfusion imaging, and BOLD fMRI)
Parameter estimation (GFR and RPF) - possible down to single voxels
The importance of motion correction and kidney segmentation
The value of model-free visual exploration and analysis
Software for model-based estimation of renal perfusion and filtration
in the context of “open science” & “reproducible research”
Summary
Not covered: (see Syllabus @ https://github.com/arvidl/functional-kidney-imaging)
Mapping: SI time courses → [Gd] time courses (MR sequence dependent)
Validation (e.g. MR-GFR vs. iohexol-GFR w/blood sampling) and test-retest reliability
e.g. Eikefjord et al. AJR 2015, 2106
AIF and deconvolution

## Slide 29
Thanks !